**Patient Contact Garment**

**Items # PCG4-2NS-60, PCG4-2NS-55**

***These garments meet the certification requirements of AAMI Level 2 protection.***

**Intended Use**

Non-surgical full-coverage Patient Contact Garment (with belt) intended to protect health care patients and personnel from the transfer of microorganisms, body fluids (Fluid repellent) and particulate material. Single-use and disposable. Latex Free.

**Material Composition**

Sontara

56% Wood pulp – 44% Polyester

Blue

**Typical Material Properties**

A screenshot of a cell phone

Description automatically generated

**Additional Information**

PCG4-2NS-60 Patient Contact Garment, Style 4, Level 2 Non-sterile, 6.0 feet size

PCG4-2NS-55 Patient Contact Garment, Style 4, Level 2 Non-sterile, 5.5 feet size

(Style 4 is a full protection garment covering the sides of the torso)

Individually bagged, Packaged 25 per box, 40 boxes per pallet, 1000 garments per pallet

500 lbs. per pallet

**Images**

A person in a blue shirt

Description automatically generated A person posing for the camera

Description automatically generated A person in a blue dress

Description automatically generated