**Patient Contact Garment**

**Items # PCG1-2NS-60, PCG1-2NS-55**

***These garments meet the certification requirements of AAMI Level 2 protection.***

**Intended Use**

Non-surgical full-coverage Patient Contact Garment (with easy access side ties) intended to protect health care patients and personnel from the transfer of microorganisms, body fluids (Fluid repellent) and particulate material. Single-use and disposable. Latex Free.

**Material Composition**

Sontara

56% Wood pulp – 44% Polyester

**Typical Material Properties**

****

**Additional Information**

PCG1-2NS-60 Patient Contact Garment, Style 1, Level 2 Non-sterile, 6.0 feet size

PCG1-2NS-55 Patient Contact Garment, Style 1, Level 2 Non-sterile, 5.5 feet size

(Style 1 is a protection garment with side ties for easy access)

Individually bagged, Packaged 25 per box, 40 boxes per pallet, 1000 garments per pallet

500 lbs. per pallet

**IMAGES**





Front Side tie System

Side tie for better flexibility Thumb Holes for better coverage