**BinaxNOW Procedural Control Results and Patient Record – 9/22/20**

**LOT NUMBER \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ EXP. DATE \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Sofia INSTRUMENT SERIAL # \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Abbott BinaxNOW recommends that external positive and negative controls be run once with each new shipment received and once for each untrained operator.**

Procedural Controls (pink-to-purple line at the “Control” position is an internal procedural control. If the test flows and the reagents work, this line will always appear. The clearing of background color from the result window is a negative background control. The background color in the window should be light pink to white within 15 minutes. Background color should not hinder reading of the test.

Record the Date, Patient’s Name, Patient’s ID Number, Patient’s Test Result, Procedure Control Results and the Tester’s initials.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **DATE** | **PATIENT NAME**  | **PATIENT ID/QC Lot NUMBER** | **PATIENT COVID-19 TEST RESULTS** | **ARE THE PROCEDURAL CONTROL RESULTS INVALID OR VALID?** | **COMMENTS** | **TESTER’S INITIALS** |
| **INVALID** | **VALID** |
| 9/2/2020 | Positive Control | Lot # 414233 | Positive |  | Valid | Expiration: 10/2021 | PD |
| 9/2/2020 | Negative Control | Lot 414234 | Negative |  | Valid | Expiration: 10/2021 | PD |
| 9/2/2020 | Cinderella | 7800987 | Negative |  | Valid |  | PD |
| 9/2/2020 | Snow While  | 4234234 | Positive |  | Valid |  | PD |
| 9/2/2020 | Positive Control | Lot #414233 | Positive |  | Valid |  | CZ |
| 9/2/2020 | Negative Control | Lot $14234 | Negative |  | Valid | Expiration:02/2022 | CZ |
| 9/2/2020 | Belle | 78098741 | Negative |  | Valid | Expiration: 02/2022 | CZ |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

**REVIEWED BY: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_DATE: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

*Template provided by the Iowa Health Care Association Last updated 9/22/20*